Grit removal chamber

Grit consists of:

Gravel, sand, silt or other material having a specific gravity greater than of organic matter. (particle size ≥ 0.2 mm)

purpose :

It is a sedimentation tank , the velocity through which is so controlled to allow settlement of sand & silt of 0.2 mm diameter without allowing settlement of organic matter.

The sedimentation tank is not used for the removal of particles ≥ 0.2 mm:

1- To improve the quality of sludge.

2- Decrease the quantity of sludge.

3- Decrease the load on the sedimentation tank to decrease the construction cost.

Types of grit removal chamber:

1- Rectangular ( conventional type (horizontal flow)). 
2- Aerated grit chamber. 
3- Vortex.

1- Conventional type (horizontal flow) grit removal chamber:

Design criteria: 
1- Velocity of flow 0.25 – 0.35 m/s taken 0.3 m/sec 
2- Retention period T = 1 min 
3- Length ( L ) = 18 - 20 m 
4- Surface loading rate ≤ 1200 m³/m²/day

5- No. of grit chamber n ≥ 2

6- Depth (d) = 0.6 – 1 m.

7- width (b) = 1 - 2 d

8- Amount of grit removed = 100 – 250 l / 1000 m³ of Qd /day.

Inorder to keep the velocity constant we either use:

1- Rectangular section + proportional weir.

proportional weir:

Purpose:

Keep the velocity constant at different discharge rates (Q).

H = depth of wastewater in grit chamber (d) – 0.1

B = width of water in proportional weir at height H.

2- Parabolic section.

To get constant velocity the hydraulic radius must be constant at different flow rates.

The ratio of A/p remains constant in case of parabolic section at different flow rates.

2- Aerated grit removal chamber:

Purpose:

1- Removal of oil and grease.

2- Removal of particles of size ≥ 0.2 mm.

Design criteria: 
1- Velocity of flow 0.25 – 0.3 m/s

2- Helical velocity 0.1 – 0.2 m/s 
3- Retention period T = 2 - 5 min 
4- Length ( L ) = 7.5 - 20 m 
5- Surface loading rate ≤ 1000 m³/m²/day

6- No. of grit chamber n ≥ 2

7- Depth (d) = 3 – 5 m.

7- width (b)  ≤ 2 m

8- Rate of aeration = 0.3 – 0.7m³/minute/m of chamber length (average 10 m³/hour/ m³ of the chamber)

9- Amount of grit removed = 100 – 250 l / 1000 m³ of Qd /day.

Example:

A city of population 200000 capita and average sewage flow of 200 l/c/d. Design conventional grit removal chamber.

Solution:

Assume T = 1 min = 60 sec

V = Qd x T

= 0.83 x 60 = 49.68 m3

V = n x L x b x d

Horizontal velocity = 0.3 m/s

Qd = A (cross sectional area) x v

Design of proportional weir:

| H | 0.39 | 0.34 | 0.29 | 0.24 | 0.19 | 0.14 | 0.1 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| B | 0.08 | 0.086 | 0.09 | 0.1 | 0.11 | 0.13 | 0.16 |

# Text boxes

Grit removal chamber