# Dynamic model for thermal generation during change of the load

## M.M. SALAMA

Associate Professor of Electrical Engineering, Faculty of Eng.,

### 108 Shoubra Street, Cairo, Egypt

# ABSTRACT

It is intended to present a procedure for obtaining optimum economic dispatch with consideration of control over the generating units during change of the load in thermal power systems. Therefore, a mathematical model, which takes the transmission losses into account, was built. The deviation in each of the rotational speed, system frequency, electrical and mechanical power in addition to the deviation in transmission losses, generated output powers of each unit and in the corresponding generation costs can be computed during the change of the load from a time interval to the next one.

The steady-state deviations of the above mentioned items can be computed, also, in each time interval. The results, which were obtained from the application of this model on a power system, have been presented and compared with other results.

- INTRODUCTION

The optimization time period (T) can be divided to (n) time intervals. The length of each of each time interval equals (t). The generation cost (K i )it of the generating unit (i) can be expressed in a polynomial form as

(Ki)it   =  ai [ (Pi)it ]2  +  bi (Pi)it  +  ci                               $/hour                        (1)

Where (Pi )it  is the generated real power in time interval (it) ; ai , bi  and ci   are parameters of the generating unit (i).

The total generation cost (TK)it of a power system containing (N) controllable generating units in time interval (it) will be obtained as

(TK)it  =  (Ki ) it                                              $/hour                        (2)

While the total generation cost (TK) T of the system in the time period (T) can be given by

(TK) T =  (TK) it  (t)                              $                                 (3)

By taking the transmission losses into account, the power balance requires that the sum of the controlled generation powers must equal the load demand (PL) it plus the transmission losses (Pl ) it  each time interval (it). Therefore, the power balance equation can be written as

(Pi  )it    =  (PL )it  +  (Pl ) it                                                               (4)

If the transmission losses can be neglected, the balance equation will be rewritten as

(Pi  )it    =  (PL )it                                                                                (5)

Each generating unit must not be operated above its rating or below some minimum value according to the following inequalities

(Pi min )   (Pi  )it    ( Pi max  )       for    i  =  1, 2,……..  and N                          (6)

Where  (Pi min ) , ( Pi max  )  are the minimum and maximum power permitted for the generating unit ( i ), respectively.

A set of real generation powers must be selected that will minimize the cost function in each time interval. Various techniques have been developed to solve the problem of power system economic dispatching and to allocate the system load on each generating unit [1-5]. In [6] a mathematical model has been built to calculate the steady-state deviations in each of the system frequency, mechanical and electrical power in addition to the generated output power of each generating unit without taking the transmission losses in consideration. Other models have been presented, also by the author in [7], when the transmission losses are taken into account. Thereby, the value of the load changes (PL ) in each time interval has been taken as the difference between the load value in this interval and its value in the previous one. It has been taken, also as an optional specified constant value (PL sp ).

In this work a solution for the problem of power system economic dispatching is presented to allocate the system load on each generating unit in the system and to obtain the deviations in the all above mentioned variables during each subinterval of the building up or decaying time of the load from an interval to the next one.

- THE MATHEMATICAL MODEL

The rotational speed of a generating unit driven by a steam turbine will be constant when the mechanical torque equals in magnitude the electrical torque. These both toques act on the rotating mass of the generating unit and oppose each other. If the electrical load is increased, the rotating system will begin to slow down. Thereby, the mechanical torque must be increased to restore equilibrium and vice versa. The speed is again held constant when the two torque become equal. The previous process must be repeated constantly due to the changes of the electrical load in a power system.

The following equation gives the relation of the rate of change of a generating unit speed and the difference between the deviations in both mechanical (Pm )  and electrical power (Pe ), respectively.

(Pm )  -  (Pe )  =  M                                                        (7)

Where (M) is the angular momentum of the machine in watts per radian per second per second or in Mw / pu frequency / sec on machine base, (n )  is the nominal rotational speed (rad /sec ), and () is the deviation from this nominal value. Very little error is involved by the assumption that (M) is constant and is equal to the value ( I n ), where I is the moment of inertia of the machine in ( Kg m2 ).

Due to the change in the rotational speed, the change in load  ( PL )` , which is the frequency-sensitive load change, can be given by

( PL )`  =  D ()                                                                 (8)

Where (D) is defined as percent change in load divided by percent change in frequency.

The net change in the electrical power output is given by

(Pe)   =   ( PL)  +  ( PL)`   =   ( PL )  +   D ()                                        (9)

Where  (PL) is the nonfrequency –sensitive load change.

The change in mechanical power input can be related to the change in the rotational speed by

(Pm )   = - ( 1/ R ) ()                                                                  (10)

Where ( R) is the ratio between the per unit change in frequency and the per unit change in output of the generating unit,  R = the slope of the governor characteristic. Eqns. (7) to (10) are given in [8].

After damping out all synchronizing oscillations, the frequency will be constant and equal to the same value for each unit [9], mathematical models corresponding to this steady state ( ( d  () / dt ) = 0 ) have been developed by the author and presented in [ 6,7 ].

Now, to formulate the proposed mathematical models for a power system contains (N)-generating units to obtain a solution during the change of the load from (PL ) it –1 to (PL ) it . The load change (PL ) it can be given by

(PL ) it  =   (PL ) it  -  (PL ) it –1               , it = 2,3,……….,n                        (11)

Where ( PL ) it  and  (PL ) it –1 are the steady-state values of the load in intervals (it) and (it – 1), respectively.

Substitute Eqns. (9) and (10) in Eqn. (7), to obtain for unit (i) the following equation during synchronizing oscillations:

- ( 1 / Ri ) () -  (PL  i )  - D i  ()  =  M i      , i = 1,2,…..and N       (12)

(PL  i ) can be defined as the change in the controlled generation of unit (i).

By taking the transmission losses into account, the power balance requires that the sum of the changes in the controlled generation powers must equal to the load change  (PL ) plus the change of transmission losses (Pl ) during synchronizing oscillations.

( PL i  )  =    (PL )  +  (Pl  )                                                (13)

i.e.,              (P L i )   =   (PL )  +  (Pl )  -  L j )                                      (14)

From Eqns. (12) and (14), the following equation for unit (i) can be obtained

- [ ( 1 / Ri )  +  D i  ]  ()  -  M i     =    (P L i )

=   (PL )  +  (Pl )  -  L j )                                                      (15)

# Add Eqns. (15) for the (N) generating units, to obtain

- [  ( 1 / Ri )  + D i  ] ()  - M i

=  (P L i )   =    (PL )  +  (Pl )                                    (16)

Assume that,          Si   =  ( 1 /  R i  )  +  D i                                                             (17)

And                         S T =  ( 1 / Ri )  + D i   =  S i                               (18)

M T  = M i                                                                          (19)

Substitute Eqns. (18) and (19) in Eqn. (16), to obtain the change in the rotational speed (  )

(  )  = - { [ ( P L )  +  (P l ) ] /  S T  } -  ( M T  /  S T  )                     (20) Substitute Eqns. (17) and (20), to obtain the change in the controlled generation

( P L i ) of unit (i):

(PLi  ) = (S i / ST ) [ (PL) + (P l ) ] + (1/ S T ) (S i M T - S T M i )         (21)

Assume,                       ( CP ) i   =  S i  /  S T                                                              (22)

Where ( CP ) i  can be defined as coefficient of participation of unit (i). Then,

(PLi  )  =  ( CP ) i  [ (PL) + (P l ) ] + [ (CP) i  M T  -  M i  ]                  (23)

When the transmission losses can be neglected  (P l   = 0 ), we will obtain from Eqns. (20) and (23) the following corresponding equations:

(  )      = - [ (PL ) / S T  ]  -  ( M T  /  S T )                         (24)

And,

( P L i )  = ( CP ) i  (P L )  +  [ (CP ) i  M T  -  M i  ]            (25)

After damping out of synchronizing oscillations in the steady state, the following equations will be delivered by substituting  [ ( d (  ) / dt ) = 0 ] in Eqns. (20) and (23).

(  )      = - [ (PL) + (P l ) ]  / S T                                                   (26)

( P L i  )  =  ( CP ) i  [ (PL) + (P l ) ]                                               (27)

These two equations, which have been driven before in [7], will give the following two equations, which have been driven before also in [6], if the transmission losses are neglected:

(  )      =  -  (PL ) /  S T                                                       (28)

( P L i  )  = ( CP ) i  (PL )                                                      (29)

From Eqns. (8) to (10) we can obtain the following corresponding equations for unit ( i ) in interval ( it).

( PL i  )`  =  D i  ( )                                                            (30)

( Pe i  )    =  ( P L i )  +  ( P L i )`                                       (31)

( P m  i )  =  - ( 1 / R i  ) ( )                                               (32)

The steady-state value of the system frequency (f ) and controlled generation power ( P i ) of unit ( i ) will be obtained in the time interval (it ) from their values in the previous one as follows, it  = 2,3,……. and n:

( f )      =  ( f ) it – 1    +  ( ) f                                                (33)

( P i  )  =  ( P i ) it – 1  +  ( P L i )                                              (34)

Runge-Kutta method is used to solve the differential Eqn. (20) during the building up or decaying time of the load between intervals (it –1 ) and ( it ), during the synchronizing oscillations. The length of this time is proportional inversely to the changing speed of the load. This time will be divided into subintervals, in each one the deviation in the rotational speed will be obtained by solving Eqn. (20). Also, deviations in system frequency and controlled generation power of each unit are delivered from Eqns. (33) and (34). Therefore, all deviations in each of the electrical, mechanical power and transmission losses can be obtained by solving the correspond-

ing equations of the mathematical model. Thereby, the effect of the change in frequency on the net load drawn by the system has been taken into account. The solution at the end of the changing time of the load gives the steady-state deviations.

Starting from an optimal economic solution in the first interval ( it = 1 ), this suggested model satisfies the control of generation, holds the system frequency at or very close to the specified nominal frequency and maintains the generation of each generating unit at the most economic value during each subinterval of the load changing time and, also, in the steady state for each time interval.

- TEST EXAMPLE AND RESULTS

The optimization time period, which is divided in 6 time intervals, is taken as 24 hours. Table (1) gives the load ( P L ) and the corresponding load change (PL ) in each time interval. Table (2) shows cost functions, power limits and other given data of each controlled generating unit of a power system.

#### Table (1) : Daily load curve data.

| Interval (it) | 1 | 2 | 3 | 4 | 5 | 6 |
| --- | --- | --- | --- | --- | --- | --- |
| Load (Mw) | 210.00 | 375.00 | 470.00 | 400.00 | 320.00 | 180.00 |
| Load change | 0.0 | 165.00 | 95.00 | - 70.00 | - 80.00 | - 140.00 |

Table (2) : The given data of each controlled generating unit.

| Unit | A i | b i | c i | P i max | P i min | D i | R i | M i |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 2 3 | 0.00533 0.00889 0.00741 | 11.669 10.333 10.833 | 213.1 200.0 240.0 | 200.0 150.0 180.0 | 50.0 37.0 45.0 | 0.80 0.90 1.00 | 0.01 0.03 0.02 | 4.00 3.75 3.50 |

Let the transmission losses ( P l ) to be expressed by the following equation which gives ( P l ) in per unit on 100 MVA base ( all generation powers must be per unit on 100 MVA base ).

0.06760      0.00953      -0.00507              P 1

P l   =  [  P 1      P 2      P 3  ]        0.00953      0.05210       0.00901               P 2

-0.00507     0.00901       0.02940               P 3

P 1

+  [ -0.07660    -0.00342    0.01890 ]       P 2        +  0.040357

P 3

To apply the mathematical model without taking the transmission losses into account the following generating powers are taken as a solution for starting in the first time interval  ( it = 1 , P L = 210 Mw ), [8]:

- P 1 = 50  Mw,     P 2 = 88.07  Mw  and   P 3  = 71.93  Mw

When the transmission losses ( P l ) will be considered, the corresponding starting values at the first interval are taken in mega-watts as follows, [8]:

- P 1 = 60.268,     P 2 = 79.446,     P 3  = 80.150    and    P l  = 9.865

The starting value of the system frequency has been taken as 50 cycle/sec.  The load change ( P L ) it  in interval (it ) is the difference between the load of this interval and the load of the previous one. The length of the time ( LT), at which the load will be built up or will be decayed from (P L) it – 1  to the corresponding value in the next interval

( P L ) it , may be obtained from the following equation:

( LT )  =      (P L ) it  / v                                                                     (35)

Where v is the speed change of the load in Mw/min.  When the transmission losses taken into account, Eqn. (33) can be rewritten as

( P 1 ) it – 1

( LT )  =    {  (P L ) it   +                           ( P L ) it   }  /  v                                       (36)

( P L ) it – 1

Where [ ( ( P l ) it – 1    /  ( P L ) it – 1  ) ( P L ) it  ] represents an approximate estimated value for the transmission losses in interval ( it ).

To solve the differential equations, (20) or (24), Runge-Kutta method, [10], has been applied. The solution represents, step-by-step, a series of values for the dependent variable () corresponding to selected values of the time ( t ) as an independent variable. The time ( LT ) is divided to subintervals ( length of each subinterval (h) is taken as 0.1 minute ). The procedure is to select values of the independent variable at these fixed subintervals.

Table (3) : The solution during the building up time of the load from 210 to 375 Mw                (Transmission losses are neglected )

| Time (min.) | x 10 – 6 | f cycle/s | P 1 | P 2 | P 3 | P 1 | P 2 | P 3 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0.0 0.1 0.2 0.3 0.4 0.5 …… 32.8 32.9 | 0.0 -3.9 -5.0 -5.3 -5.3 -5.4 ……. -5.4 -5.4 | 50.0 49.99981 49.99956 49.99929 49.99903 49.99876 ………. 49.91224 49.91198 | 0.0 0.2456 0.2641 0.2691 0.2704 0.2708 ……. 0.2709 0.2709 | 0.0 0.1123 0.0975 0.0935 0.0924 0.0921 …….. 0.0920 0.0920 | 0.0 0.1421 0.1384 0.1374 0.1372 0.1371 …….. 0.1371 0.1371 | 50.00 50.25 50.51 50.78 51.05 51.32 ……. 139.10 139.37 | 88.07 88.18 88.28 88.37 88.47 88.56 ……. 118.37 118.46 | 71.93 72.07 72.21 72.35 72.49 72.62 ……. 117.03 117.17 |

The initial values of the dependent and independent variables are taken  =  0 and t = 0. In each subinterval we can obtain the corresponding deviations in each of the rotational speed, system frequency and output power of each generating unit in addition to the deviations in mechanical and electrical power of the units. The deviation in the transmission losses can, also, be obtained.

Tables (3) and (4) show parts from the solution when the load builds up from 210 Mw in the first interval (it =1) to 375  Mw in the second interval (it =2), for both cases of the transmission losses.

Table (4) : The solution during the building up of the load from 210 – 375  Mw (Transmission losses are taken into account )

| Time Min. | x 10 – 5 | f cycle/s | P1 | P2 | P3 | P1 | P2 | P3 | P l | P l |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0.0 0.1 0.2 0.3 0.4 0.5 …… 36.4 36.5 | 0.0 -0.4 -0.5 -0.5 -0.5 -0.5 ……. -0.6 -0.6 | 50.0 49.9998 49.9996 49.9993 49.9991 49.9988 ………. 49.9032 49.9029 | 0.0 0.23 0.25 0.26 0.26 0.26 ….. 0.28 0.28 | 0.0 0.11 0.09 0.09 0.09 0.09 …… 0.10 0.10 | 0.0 0.14 0.13 0.13 0.13 0.13 …… 0.14 0.14 | 60.3 60.5 60.8 61.0 61.3 61.5 …… 158.6 158.9 | 79.4 79.6 79.7 79.7 79.8 79.9 …… 112.9 113.0 | 80.2 80.3 80.4 80.6 80.7 80.8 …… 129.9 130.1 | 0.000 0.024 0.023 0.022 0.022 0.022 …… 0.072 0.072 | 9.87 9.89 9.91 9.93 9.96 9.98 ….. 26.5 26.6 |

Tables (5) and (6) give parts of the solutions, when the load decays from 470 Mw in the third interval ( it =3 ) to 400 Mw in the fourth one ( it = 4 ), also for both cases of the transmission losses.

Table (5) : The solution during the decaying of the load from 470 Mw to 400 Mw

(Transmission losses are neglected ).

| Time min. | x 10 –6 | f cycle/s | P1 | P2 | P3 | P1 | P2 | P3 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0.0 0.1 0.2 0.3 0.4 0.5 …… 13.8 13.9 | 0.0 3.9 5.0 5.3 5.3 5.4 ……. 5.4 5.4 | 49.86000 49.86020 49.86044 49.86071 49.86097 49.86124 ………. 49.89702 49.89729 | 0.0 -0.246 -0.264 -0.269 -0.270 -0.271 ….. -0.271 -0.271 | 0.0 -0.112 -0.098 -0.094 -0.092 -0.092 …… -0.092 -0.092 | 0.0 -0.142 -0.138 -0.137 -0.137 -0.137 …… -0.137 -0.137 | 190.84 190.63 190.37 190.10 189.83 189.56 …… 153.26 152.99 | 135.94 135.79 135.70 135.61 135.51 135.42 …… 123.09 123.00 | 143.21 143.07 142.93 142.79 142.65 142.52 …… 124.15 124.01 |

Results can be obtained for all changes of the load between the different time intervals. The obtained results at the end of the building up or decaying time of the load from an interval to the next one represent the steady state values, which belong this next interval.

All steady-state results for the intervals from ( it =2 ) to ( it = 6 ) are given in Tables (7) and (8). These are the results obtained at the last subinterval for the building up or decaying time of the load from an interval to the next one. Also, these tables contain for comparison the corresponding results, which are obtained from the steady-state mathematical models in [7].

Table (6) : The solution during the decaying of the load from 470 to 400 Mw

( Transmission losses are taken into account )

| Time Min. | x 10 – 5 | f cycle/s | P1 | P2 | P3 | P1 | P2 | P3 | P l | P l |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0.0 0.1 0.2 0.3 0.4 0.5 …… 6.1 6.2 | 0.0 1.7 1.5 1.5 1.5 1.5 ……. 1.4 1.4 | 49.8422 49.8431 49.8438 49.8446 49.8453 49.8461 ………. 49.8871 49.8878 | 0.0 -1.1 -0.75 -0.74 -0.74 -0.74 ….. -0.71 -0.71 | 0.0 -0.50 -0.24 -0.25 -0.25 -0.25 …… -0.24 -0.24 | 0.0 -0.63 -0.37 -0.38 -0.38 -0.38 …… -0.36 -0.36 | 200.0 198.9 198.2 197.4 196.7 195.9 …… 154.6 153.8 | 150.0 149.5 149.3 149.0 148.8 148.5 …… 134.5 134.2 | 165.0 164.3 164.0 163.2 162.8 162.8 …… 141.9 141.6 | 0.00 -1.1 -0.25 -0.25 -0.25 -0.25 …… -0.19 -0.19 | 45.6 44.5 44.3 44.0 43.8 43.5 …. 31.1 30.9 |

In Table (7), the comparison is made for the generated power of each unit, the total generated power, the deviation in the mechanical power of each unit ( which equals, approximately, the deviation in the electrical power) and the deviation in the rotational speed in addition to the system frequency. When the transmission losses are taken into account, the comparison has been repeated again for all above mentioned variables in addition to the value of the transmission losses and it has been presented in Table (8).

Table (7) : Steady-state comparison, when the transmission losses have been neglected.

|  | Interval ( it ) | 2 | 3 | 4 | 5 | 6 |
| --- | --- | --- | --- | --- | --- | --- |
|  | P L | 375.0 | 470.0 | 400.0 | 320.0 | 180.0 |
|  | PL | 165.0 | 95.0 | -70.0 | -80.0 | -140.0 |
|  | Results in [7] | 139.40 | 190.88 | 152.95 | 109.60 | 50.0 |
| P 1 | Obtained results | 139.37 | 190.84 | 152.99 | 109.64 | 50.0 |
|  | Results in [7] | 118.43 | 135.91 | 123.03 | 108.31 | 82.55 |
| P 2 | Obtained results | 118.46 | 135.94 | 123.00 | 108.28 | 82.52 |
|  | Results in [7] | 117.16 | 143.21 | 124.02 | 102.09 | 47.45 |
| P 3 | Obtained results | 117.17 | 143.21 | 124.01 | 102.08 | 47.48 |
|  | Results in [7] | 347.99 | 470.00 | 400.00 | 320.00 | 180.00 |
| P T | Obtained results | 375.00 | 469.99 | 400.00 | 320.00 | 180.00 |
|  | Results in [7] | 88.69 | 51.67 | -37.63 | -43.01 | -75.26 |
| P m 1 | Obtained results | 88.59 | 50.97 | -37.53 | -42.90 | -75.16 |
|  | Results in [7] | 29.57 | 17.02 | -12.54 | -14.33 | -25.09 |
| P m 2 | Obtained results | 29.53 | 16.99 | -12.51 | -14.30 | -25.05 |
|  | Results in [7] | 44.35 | 25.53 | -18.81 | -21.50 | -37.63 |
| P m 3 | Obtained results | 44.30 | 25.48 | -18.76 | -21.45 | -37.58 |
|  | Results in [7] | -0.00178 | -0.00102 | 0.00075 | 0.00086 | 0.00150 |
|  | Obtained results | -0.00177 | -0.00102 | 0.00075 | 0.00085 | 0.00153 |
|  | Results in [7] | 49.911 | 49.860 | 49.898 | 49.941 | 50.016 |
| F | Obtained results | 49.912 | 49.861 | 49.897 | 49.941 | 50.016 |

Table (8) : Steady-state comparison, when the transmission losses have been taken in consideration

|  | Interval ( it ) | 2 | 3 | 4 | 5 | 6 |
| --- | --- | --- | --- | --- | --- | --- |
|  | P L | 375.0 | 470.0 | 400.0 | 320.0 | 180.0 |
|  | PL | 165.0 | 95.0 | -70.0 | -80.0 | -140.0 |
|  | Results in [7] | 158.71 | 200.00 | 154.56 | 105.26 | 50.0 |
| P 1 | Obtained results | 158.91 | 200.00 | 153.84 | 104.45 | 50.0 |
|  | Results in [7] | 112.88 | 150.00 | 134.57 | 117.83 | 90.41 |
| P 2 | Obtained results | 112.99 | 150.00 | 134.22 | 117.39 | 89.92 |
|  | Results in [7] | 129.96 | 164.97 | 141.98 | 117.04 | 48.58 |
| P 3 | Obtained results | 130.09 | 166.12 | 141.55 | 116.53 | 49.34 |
|  | Results in [7] | 26.55 | 44.98 | 31.11 | 20.13 | 8.99 |
| P l | Obtained results | 26.61 | 45.59 | 30.89 | 19.95 | 11.07 |
|  | Results in [7] | 401.55 | 514.97 | 431.11 | 340.13 | 188.99 |
| P T | Obtained results | 401.98 | 516.12 | 429.61 | 338.37 | 189.26 |
|  | Results in [7] | 97.66 | 61.24 | -45.08 | -48.90 | -80.09 |
| P m 1 | Obtained results | 97.75 | 61.24 | -45.63 | -48.89 | -80.05 |
|  | Results in [7] | 32.55 | 20.41 | -15.03 | -16.30 | -26.70 |
| P m 2 | Obtained results | 32.59 | 20.41 | -15.21 | -16.29 | -26.68 |
|  | Results in [7] | 48.83 | 30.62 | -22.54 | -24.45 | -40.05 |
| P m 3 | Obtained results | 48.89 | 30.62 | -22.81 | -24.45 | -40.02 |
|  | Results in [7] | -0.00195 | -0.00123 | 0.00090 | 0.00098 | 0.00160 |
|  | Obtained results | -0.00196 | -0.00123 | 0.00091 | 0.00098 | 0.00160 |
|  | Results in [7] | 49.902 | 49.841 | 49.886 | 49.935 | 50.015 |
| F | Obtained results | 49.903 | 49.842 | 49.888 | 49.937 | 50.017 |

- CONCLUSIONS

The proposed procedure gives the deviations in each of the rotational speed, electrical and mechanical power of each generation unit in addition to the deviations in frequency, transmission losses and generated power of each unit during the changing time of the load, either the load builds up or decays from an interval to the next interval.

The steady-state values of the above mentioned variables can, also, be calculated at the end of this changing time. The agreement between the obtained results and the results, which are obtained before in [7], verifies that the presented procedure is feasible and valid for the steady-state solution and the solution during the changing of the load. This last solution illustrates that the generated power of each generating unit in each subinterval of the changing time of the load is less than the steady-state value. This leads to reduce the optimum generating costs in each time interval.

- REFERENCES

1. El-HAWARY, M. ; CHRISTENSEN, G. , “ Optimal Economic Operation of           Electric Power System “ , Academic Press, 1979.

- KUSIC, G. L. ; PUTTON, H.A. , “ Dispatch and Unit Commitment “ , IEEE Trans. Power Apparatus and System, Vol. Pas 104, No 9, September  1985.

- SANDERS, C. W. ; MNROE, A. C., “ An Algorithm for Real-time Security Constrained Economic Dispatch” , IEEE Trans., Vol. PWRS – 2, No. 4, pp. 1068 – 1076, November 1987.

- KLAUS, H., “ Wirtschaftliche Lastvereeilung thermisch erzeugter Energie für kurzfristige Zeiträume “, Elecktrizitätswirtschaft, Jg. 77, Heft 14, 1978.

- SALAMA, M.M. ; ABDEL MAKSOUD, S.M., “ Economic Dispatch of Thermal Generation “, Modeling, Measurement & Control, AMSE, D`, Vol.12, No. 2,1995, pp. 53 – 63.

- SALAMA, M.M., “ Dynamic Model for Thermal Power Systems “, Journal of Eng. and Applied Science, Faculty of Eng., Cairo University, Vol. 40, No. 5, October, 1993, pp. 1007 – 1018.

- SALAMA, M.M., “ Economic Control for Generation in Thermal Power Systems”, Modeling, Measurement&control, B, AMSE Press, Vol.63, No.1,2, 1997, pp. 1-15.

- WOOD, A.J. ;WOLLENBERG, B.F., “ Power Generation, Operation, and Control” John Wiley & Sons, New York, 1984.

- KIRCHMAYER, L.K., “ Economic Control of Interconnected Systems”, John Wiley and Sons, New York, 1959.

- Stagg, G.W. ; El-ABIAD, A.H., “ Computer Methods in Power System Analysis”, McGraw-Hill Book Company, New York, 1968.