## Slide 1: Automatic Control
By
Dr. / Mohamed Ahmed Ebrahim Mohamed
E-mail: mohamedahmed_en@yahoo.com
Web site: http://bu.edu.eg/staff/mohamedmohamed033

## Slide 2
Lecture (2)

## Slide 3
BODE PLOT

## Slide 4
Magnitude Bode plot of
-- 20log10(1+jω/0.1)
-- -20log10(1+jω/5)
-- -20log10(ω)
-- 20log10(√10)
-- 20log10|H(jω)|

## Slide 5
EXAMPLE
+
11Ω
vi
+
vo
110mH
10mF

## Slide 7
Calculate 20log10 |H(jω)| at ω=50 rad/s and ω=1000 rad/s

## Slide 8
Using the Bode diagram, calculate the amplitude of vo if vi(t)=5cos(500t+150)V.
From the Bode diagram, the value of AdB at ω=500 rad/s is approximately -12.5 dB. Therefore,

## Slide 9
MORE ACCURATE AMPLITUDE PLOTS
The straight-line plots for first-order poles and zeros can be made more accurate by correcting the amplitude values at the corner frequency, one half the corner frequency, and twice the corner frequency. The actual decibel values at these frequencies
In these equations, + sign corresponds to a first-order zero, and – sign is for a first-order pole.

## Slide 11
STRAIGHT-LINE PHASE ANGLE PLOTS
The phase angle for constant Ko is zero.
The phase angle for a first-order zero or pole at the origin is a constant ± 900.
For a first-order zero or pole not at the origin,
  For frequencies less than one tenth the corner frequency, the phase angle is assumed to be zero.
  For frequencies greater than 10 times the corner frequency, the phase angle is assumed to be ± 900.
  Between these frequencies the plot is a straight line that goes from 00 to ± 900 with a slope of ± 450/decade.

## Slide 13
EXAMPLE

## Slide 15
Compute the phase angle θ(ω) at ω=50, 500, and 1000 rad/s.
Compute the steady-state output voltage if the source voltage is given by vi(t)=10cos(500t-250) V.

## Slide 16
PHASE ANGLE PLOTS
For a second-order zero or pole not at the origin,
  For frequencies less than one tenth the corner frequency, the phase angle is assumed to be zero.
  For frequencies greater than 10 times the corner frequency, the phase angle is assumed to be ± 1800.
  Between these frequencies the plot is a straight line that goes from 00 to ± 1800 with a slope of ± 900/decade.
  As in the case of the amplitude plot, ζ is important in determining the exact shape of the phase angle plot. For small values of ζ , the phase angle changes rapidly in the vicinity of the corner frequency.

## Slide 18
ζ=0.1
ζ=0.3
ζ=0.707

## Slide 19
EXAMPLE
+
vi
+
vo
50mH
40mf
1Ω

## Slide 21
From the straight-line plot, this circuit acts as a low-pass filter. At the cutoff frequency, the amplitude of H(jω) is 3 dB less than the amplitude in the passband. From the plot, the cutoff frecuency is predicted approximately as 13 rad/s.
To solve the actual cutoff frequency, follow the procedure as:

## Slide 22
ωc

## Slide 23
From the phase plot, the phase angle at the cutoff frequency is estimated to be -650.
The exact phase angle at the cutoff frequency can be calculated as
Note the large error in the predicted error. In general, straight-line phase angle plots do not give satisfactory results in the frequency band where the phase angle is changing.

## Slide 24
Controller

## Slide 25
Input:
Output:
is the normalized amplitude ratio (AR)
 is the phase angle, response angle (RA)
AR and  are functions of ω
Assume G(s) known and let

## Slide 26
Series PID Controller. The simplest version of the series PID controller is
Series PID Controller with a Derivative Filter. The series controller with a derivative filter was described in Chapter 8
Chapter 14
Ideal PID Controller.

## Slide 27
Figure Bode plots of ideal parallel PID controller and series PID controller with derivative filter (α = 1).
Ideal parallel:
Series with Derivative Filter:
Chapter 14

## Slide 28
Advantages of FR Analysis for Controller Design:
1. Applicable to dynamic model of any order
(including non-polynomials).
2. Designer can specify desired closed-loop response
characteristics.
3. Information on stability and sensitivity/robustness is provided.
Disadvantage:
The approach tends to be iterative and hence time-consuming
-- interactive computer graphics desirable (MATLAB)
Chapter 14

## Slide 29
Thank You
For Your Attention
Mohamed Ahmed Ebrahim